## Adjusted CN
Dane County Green Roof Modeling - Adjusted Curve Number Calculator
August 2023.
Enter design values in Step 1. Steps 2-4 autofill. |  |  | Dane County Stormwater Manual: Green Roof
Step 1
Calculate storage volume of green roof.
Green roof area (sf) [Aroof]
Media depth (in) [dmedia]
Available water capacity for runoff retention [n1]
Drainage layer depth (in) [ddrainage]
Drainage layer field capacity [n2]
| Storage Volume (cf) [Vs] | 0
Step 2
Calculate green roof runoff volume.
Traditional Roof Runoff (cf) [Vtraditional]
| 1-year, 24-hour | 0
| 2-year, 24-hour | 0
| 10-year, 24-hour | 0
| 100-year, 24-hour | 0
| 200-year, 24-hour | 0
| Storage Volume (cf) [Vs] | 0
Green Roof Runoff (cf)
| 1-year, 24-hour | 0
| 2-year, 24-hour | 0
| 10-year, 24-hour | 0
| 100-year, 24-hour | 0
| 200-year, 24-hour | 0
Step 3
Calculate direct runoff depth.
Green Roof Runoff (cf)
| 1-year, 24-hour | 0
| 2-year, 24-hour | 0
| 10-year, 24-hour | 0
| 100-year, 24-hour | 0
| 200-year, 24-hour | 0
| Green Roof Area (sf) | 0
Direct Runoff Depth (in) [Q]
| 1-year, 24-hour | #DIV/0!
| 2-year, 24-hour | #DIV/0!
| 10-year, 24-hour | #DIV/0!
| 100-year, 24-hour | #DIV/0!
| 200-year, 24-hour | #DIV/0!
Step 4
Determine adjusted curve number. Can verify using Figure 10-2.
| Storm | Adjusted CN
| 1-year, 24-hour | #DIV/0!
| 2-year, 24-hour | #DIV/0!
| 10-year, 24-hour | #DIV/0!
| 100-year, 24-hour | #DIV/0!
| 200-year, 24-hour | #DIV/0!
Worksheet Password: dane2023
𝐶𝑁=200/(𝑃+2𝑄−√(5𝑃𝑄+4𝑄^2 )+2)
  References
  [1] "NJ Stormwater BMP Manual Chapter 9.4 Green Roofs" (2021).
  https://dep.nj.gov/wp-content/uploads/stormwater/bmp/nj_swbmp_9.4-gree-roofs.pdf
  [2] U.S. Department of Agriculture, Natural Resources Conservation Service, "Urban Hydrology for Small Watersheds, Technical Release 55" (1986).
  https://directives.sc.egov.usda.gov/OpenNonWebContent.aspx?content=22162.wba
  [3] Mecham, Charlotte M., "NRCS Curve Number Calibration Using USGS Regression Equations" (2008).
  Theses and Dissertations. 1388.
  https://scholarsarchive.byu.edu/etd/1388/
Vs = storage volume (cf)
Aroof = green roof area (sf)
dmedia = media depth (in)
n1 = available water capacity for runoff retention (cf/cf)
ddrainage = drainage layer depth (in)
n2 = drainage layer field capacity (cf/cf)
𝑉𝑠=(𝐴roof ∙[(𝑑media∙𝑛1) +(𝑑drainage∙𝑛2)] )/(12 𝑖𝑛/𝑓𝑡),
where:
[3, eq. (2-7)]
[1, pg. 14]
[2, eq. (2-4)]
[2, eq. (2-3)]
𝑄=(Green Roof Runoff (cf)∙12(𝑖𝑛/𝑓𝑡))/(Green Roof Area (sf)) ,
𝑄=direct runoff depth (in)
where:
𝑉𝑡𝑟𝑎𝑑𝑖𝑡𝑖𝑜𝑛𝑎𝑙=𝑄𝑡raditional/12×𝐴𝑟𝑜𝑜𝑓
Green Roof Runoff (cf) = Traditional Roof Runoff (cf) - Vs
𝑄𝑡raditional=((𝑃−0.2𝑆)^2 )/(𝑃+0.8𝑆)
, where:
P = rainfall (in)
𝐶𝑁=1000/(10+𝑆)
CN = 98 for traditional roof
𝑆=1000/(𝐶𝑁−10)
, where:

## CN Calculations (hidden)
Dane County Green Roof Curve Numbers
Where:
|  |  |  | S' = 5*(P+(2*R))-(5*sqrt((5*P*R)+(4*(R^2))) | P= Rainfall
|  |  |  | CN= 200/((P+2*R)-(sqrt((5*P*R)+(4*(R^2)))+2) | R = Runoff
1 year, 24 hr storm
| P | Q | S' = 5*(2.49+(2*Q))-(5*sqrt((5*2.49*Q)+(4*(Q^2)))
| 2.49 | #DIV/0! | CN= 200/((2.49+2*Q)-(sqrt((5*2.49*Q)+(4*(Q^2)))+2)
| S | #DIV/0!
| CN Calcualated | #DIV/0!
| CN | #DIV/0!
2 year, 24 hr storm
| P | Q | S' = 5*(2.84+(2*Q))-(5*sqrt((5*2.84*Q)+(4*(Q^2)))
| 2.84 | #DIV/0! | CN= 200/((2.84+2*Q)-(sqrt((5*2.84*Q)+(4*(Q^2)))+2)
| S | #DIV/0!
| CN Calcualated | #DIV/0!
| CN | #DIV/0!
10 year, 24 hr storm
| P | Q | S' = 5*(4.09+(2*Q))-(5*sqrt((5*4.09*Q)+(4*(Q^2)))
| 4.09 | #DIV/0! | CN= 200/((4.09+2*Q)-(sqrt((5*4.09*Q)+(4*(Q^2)))+2)
| S | #DIV/0!
| CN Calcualated | #DIV/0!
| CN | #DIV/0!
100 year, 24 hr storm
| P | Q | S' = 5*(6.66+(2*Q))-(5*sqrt((5*6.66*Q)+(4*(Q^2)))
| 6.66 | #DIV/0! | CN= 200/((6.66+2*Q)-(sqrt((5*6.66*Q)+(4*(Q^2)))+2)
| S | #DIV/0!
| CN Calcualated | #DIV/0!
| CN | #DIV/0!
200 year, 24 hr storm
| P | Q | S' = 5*(7.53+(2*Q))-(5*sqrt((5*7.53*Q)+(4*(Q^2)))
| 7.53 | #DIV/0! | CN= 200/((7.53+2*Q)-(sqrt((5*7.53*Q)+(4*(Q^2)))+2)
| S | #DIV/0!
| CN Calcualated | #DIV/0!
| CN | #DIV/0!